SCHOOL CONSTRUCTION PLAN
Mathare Community Education and Development Organization (MCEDO)

Mathare, Nairobi, Kenya

The proposed construction plan for MCEDO’s new school building in Mathare, Nairobi is based primarily on the location, an informal settlement, and financial flexibility, to all allow for phased construction and accommodate a limited budget. The building will provide basic school facilities immediately while allowing for upgrades in the future.

The building is organised using Mathare’s typical cell: the room. The construction will provide three rooms immediately with the ability to subdivide into a total of twelve rooms – the school’s current need. This subdivision can occur as funds become available.

In addition, the proposed building consists of a set of structural panels that can be removed and reset. This will minimize restrictions on future building adaptations which may become complicated due to the organization and ownership of land.
This construction plan also allows for flexibility in access. Every panel could be adapted into a door, allowing for different interior organisations of the school. During the primary construction, these panels will be consist of an iron sheet on the external face and the ability to add isolation and finishing layers as funds allow.
